
SELECTABLE GALLONAGE NOZZLE
Task Force Tips Thunder Fog, model # JTS250PF selectable gallonage nozzle with shutoff shall be provided. The nozzle design shall allow for straight stream through wide fog patterns with user selectable flows and be able to be flushed without shutting down. For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, have a stainless steel ball valve with quick change polymer valve seat, a protective rubber bumper, fixed fog teeth, laser engraved serial number, reflective labeling and five year warranty. An integral pistol grip handle shall be positioned directly below the valve handle. The nozzle shall comply with the current NFPA 1964 standard.
The nozzle shall have five (5) selectable flow settings @ 100 PSI:
95 GPM
125 GPM
150 GPM
200 GPM
250 GPM
The nozzle shall have a 2-1/2" female NH swivel rocker lug inlet which allows the nozzle to swivel when tightened and be designed to accept the Task Force Tips FJ-MX-FT FoamJet multi expansion foam attachment.

