
REMOTE ELECTRIC MASTER STREAM NOZZLE
Task Force Tips Master Stream 1000, model # M-ER1000-NJ automatic nozzle with electrically operated pattern control shall be provided. The nozzle design shall allow for straight stream through dense wide fog patterns.
The electric drive unit shall develop over 400 pounds of torque, be enclosed in a waterproof cast aluminum housing and include a manual override device in the event the power source fails. The unit shall be compatible with 12 or 24 volt power systems and require no more than a 3 amp power draw and include a 60" connection cable.
For corrosion resistance and durability the nozzle and actuator shall be constructed from hardcoat anodized aluminum alloy, include a protective rubber bumper with fog teeth, laser engraved serial number, and reflective labeling.
The nozzle shall have a 2-1/2" female NH swivel rocker lug coupling and a flow range of 150-1000 GPM at 100 PSI. The nozzle shall be designed to accept the TFT FJ-LX-M FoamJet low expansion air aspirating attachment.

