
MASTER STREAM NOZZLE
Task Force Tips model # M-RF1000-NL fixed flow master stream nozzle shall be provided. The nozzle shall be designed for use on monitors, ladder pipes, deluge guns and aerial platforms. For corrosion resistance the nozzle shall be constructed for lightweight hardcoat anodized aluminum.
The nozzle shall have fixed flow and pressure ratings determined by the end user. The flow and pressure ratings shall be laser engraved on the baffle plate. A UV resistant rubber bumper with integral teeth designed to produce a finger free fog pattern shall be included. A halo ring shall be included to assist with stream shape control. The nozzle shall be suitable for foam solution application and designed to accept the Task Force Tips FJ-LX-M low expansion air aspirating attachment. The nozzle shall be configured with a 3" female NH swivel rocker lug coupling.
The flow rating shall be:
The pressure rating shall be:

