
REMOTE ELECTRIC MASTER STREAM NOZZLE
Task Force Tips Master Stream 1000, model # MERSP1000-NN selectable flow master stream nozzle with electrically operated pattern control shall be provided. The nozzle design shall allow for straight stream through dense wide fog patterns.
The nozzle shall have a selectable flow rating of 250 to 1000 GPM at a pressure of 100 PSI. The flow rating shall be user adjustable by depressing the outer baffle and selecting the desired flow. The various ratings shall be laser engraved on the baffle.
The following GPM flows are available
250
350
500
750
1000
The electric drive unit shall develop over 400 pounds of torque, be enclosed in a waterproof cast aluminum housing and include a manual override device in the event the power source fails. The unit shall be compatible with 12 or 24 volt power systems and require no more than a 3 amp power draw and include a 6" connection cable.
Nozzle stream shaper actuator shall have position encoder for smooth transition between straight stream and fog pattern with fine stream adjustment. 
For corrosion resistance and durability the nozzle and actuator shall be constructed from hardcoat anodized aluminum alloy, include a protective rubber bumper with fog teeth, laser engraved serial number, and reflective labeling.
The nozzle shall have a 3-1/2" female NH swivel rocker lug coupling and shall be designed to accept the TFT FJ-LX-M FoamJet low expansion air aspirating attachment.

