
PRO/pak HOSE
A Task Force Tips model # U-HS6 connection hose shall be supplied. This hose shall be designed for use between the PRO/pak system and a compatible nozzle. The hose shall include quick connect couplings and have a length of 6 feet.

