
PRO/pak NOZZLE
A Task Force Tips model # U-LX12 nozzle shall be supplied. This low expansion foam nozzle shall be designed for use with the PRO/pak system and be compatible with Class A and B foam concentrates.

