
PRO/pak NOZZLE
A Task Force Tips model # U-PN12 piercing nozzle shall be supplied. This nozzle shall be designed for use with the PRO/pak system and be compatible with Class A and B foam concentrates. The nozzle shall deliver 12 GPM at a 360 degree pattern when the PRO/pak is being supplied at 100 PSI.

