
PRO/pak NOZZLE
A Task Force Tips model # U-SS12 nozzle shall be supplied. This straight stream nozzle shall be designed for use with the PRO/pak system and be compatible with Class A and B foam concentrates.

