
PERCENTAGE KNOB KIT
Task Force Tips model # U230-KIT percentage knob repair kit for Pro/pak portable foam system shall be provided. The repair kit shall include the knob, knob nut, spring, and threaded stud. The kit shall be covered by a five-year warranty.

