
WATER THIEF
A Task Force Tips model # WT4SJ-SJ-SF water thief shall be provided. The lightweight appliance shall be configured with a 65mm Storz coupling inlet, a 65mm Storz coupling outlet, and two (2) 52mm Storz side port outlets. The outlets shall have quarter-turn aluminum ball valves and color-coded folding Nylon handles. The main valve shall have an auto-lock feature. The main waterway shall have a full 2-1/2" waterway and side ports shall have 1-1/2" waterways. A 1/4" NPT female plugged pressure gauge port and carrying strap shall be standard. For corrosion resistance the water thief shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

