
SAF-TAK VALVE UPGRADE PACKAGE
Task Force Tips model # XF500-KIT safety valve upgrade kit for the Stow-A Way 800 series portable base shall be provided. The kit shall include all parts necessary to perform the conversion and allow the monitor to reduce water flow by 90 percent when base contact with the ground is lost. The unit shall be covered by a five-year warranty.

