
CROSSFIRE CONNECTION TEST CAP
Task Force Tips model # XFF-CAP cap for a Crossfire monitor outlet shall be installed. The cap shall be constructed from hardcoat anodized aluminum, and configured for installation on a Task Force Tips Crossfire male quick connect for pressure testing. The unit shall be covered by a five-year warranty.

