
COMPANION FLANGE
Task Force Tips model # XFF-CPP companion flange shall be installed. The 4" ANSI 150 flange shall be constructed from hardcoat anodized aluminum and shall have 4" female NPT pipe threads. The unit shall be covered by a five-year warranty.

