
REMOTE MONITOR TOGGLE SWITCH CONTROL STATION
Task Force Tips model # Y4E-TS control station for Monsoon, Hurricane, Typhoon, and Tornado series remote control monitors shall be installed. The control station shall be designed for surface mounting and include switches to control horizontal rotation, vertical elevation and nozzle stream pattern. The control station will also include a circuit board to communicate with the Task Force Tips remote control monitor. Internally mounted switches shall be included for the ability to choose which control station shall be dominant. Relay connections for "At Park" indication shall be provided. The control requires 12 or 24 volt DC power.
The switch enclosure shall be weatherproof and utilize weatherproof components such as, silicone seal, hardware with o-rings and liquid tight electrical connections with strain relief fittings. A preconnected 10', four conductor cable for power and communications shall be provided. The unit shall be covered by a five-year warranty.

Location of toggle switch control enclosure shall be:

