
CANBUS INTERFACE MODULE
Task Force Tips model # YE-CAN1 CANbus interface module for Monsoon, Hurricane, Typhoon, and Tornado series remote control monitors shall be installed.

The module shall be capable of being connected inside the monitor mounted control box on the communication board or inside the aerial monitor interface box. The module shall have a two-pole terminal block for connection to users CANbus circuit. The module shall have TFT CANbus protocol program. The unit shall be covered by a five-year warranty.

Location of storage bracket shall be:

