
LED SPOT LIGHT KIT
Task Force Tips model # YE-LK12-KIT LED spot light kit for Task Force Tips electric remote control nozzle series shall be installed. The light kit shall include a bracket for mounting to a Task Force Tips electric remote nozzle actuator. The spot light shall be of LED design with a light output of 3600 lumens and draw 4 amps. The light requires 12 volt DC power.
The light enclosure shall be weatherproof and utilize weatherproof components such as, silicone seal, and liquid tight electrical connections with strain relief fittings. A preconnected 3', two conductor cable and 20' power cable with 2-pin Deutsch connector set shall be provided. The unit shall be covered by a five-year warranty.


