
FOAM SUPPLY HOSE
A Task Force Tips model # Z625A supply hose shall be supplied. The 10' long hose shall be constructed from industrial grade, UV resistant flexible material and have 1-1/2" and 2" aluminum female Cam lock couplings.

