
SELF EDUCTING FOAM NOZZLE
Task Force Tips model # ZMF12A foam nozzle shall be provided. The straight/fog stream nozzle rated at 100 PSI shall operate at a fixed gallonage and be self educting. The nozzle flow angle shall have an adjustment range from 0 to 120 degrees and be designed to proportion foam concentrate at a variety of percentages. The eduction percentage shall be field adjustable through the use of interchangeable orifice plates provided for 1/2, 1, 3 and 6 percent concentrate flow rates. The nozzle shall be designed without small passages that can easily clog. The nozzle baffle can be easily removed for flushing of debris. 
The nozzle shall be supplied with a 1-1/2" male Cam lock fitting, an 8' length of UV resistant, industrial grade flexible foam concentrate hose with female Cam lock fitting, a halo ring constructed of non corrosive high temperature polymer and a UV resistant rubber bumper. The nozzle shall be designed to work in conjunction with the Task Force Tips FJ-LX-M Foam Jet low expansion aspirating attachment.
The nozzle body shall be constructed from hardcoat anodized aluminum, have a 2-1/2" female NH swivel rocker lug coupling and be calibrated for a 500 GPM foam solution delivery. The unit shall have a unique serial number and be covered by a five-year warranty.

